## Summary
Platform Resource Calculator Summary
Calculates CPU, RAM and Storage required for Platform related modules
Data to be provided by country
Key Inputs | Values
Total Population to be Registered | 100000000 | Note: Few additional assumptions have been used to calculate below estimates. Check respective sheets for detailed information.
Number of registration client devices | 5000
Typical Number of registration per day per device expected | 50
Avg Authentication per day as % | 10%
Scenario | Avg Daily Load | Peak Load ( TPS ) | vCPU | RAM (GB) | pods | Note: These calculations represent approximate estimates derived from our testing. Actual performance in your environment may vary depending on factors such as load, infrastructure capacity, hardware, and data characteristics.
Registrations Upload & SyncData | 250000 | 84 | 102 | 278 | 127
Authentication | 10000000 | 223 | 87 | 295 | 87
Total Resources required |  |  | 189 | 573 | 214
Duration for registration to complete (in working days) | 400
Note: The TPS for each calculator is arrived based on some assumed weightage between different types of transaction. For more details on workload model in the Performance Report
Note on B8: Based on Data from Philippines
Note on B9: Default Value was based on Data from Philippines
Note on B10: Based on publicly available data of India's AADHAR system

## Registrations Upload & SyncData
Registration Resource Calculator
Calculates CPU, RAM and Storage required for New Registration Upload & Sync Data
Data to be provided by country
Key Inputs | Values
Total Population to be Registered | 100000000 | Should be updated in Summary Sheet
Number of registration client devices | 5000
Typical Number of registration per day per device expected | 50
Data based on Industry standards
Additional Assumptions | Values
Number of Hours in upload window | 1 | Should be updated as per Country's planned operational requirements
Peak day multiplier | 1.2
Calculation based on Key Input and Assumptions | Values
Typical Number of Registration Upload per day | 250000
Peak Daily Upload (Daily Load X Peak day multiplier) | 300000
Peak Hour Upload per second - TPS | 84
Performance Observed during Internal Test
Performance Run TPS | 17
Multiplying Factor required to match the peak Processing load | 5
Duration for registration to complete (in working days) | 400
|  |  |  | vCPU | RAM | pods
Total Resources required |  |  |  | 102 | 278 | 127
Calculation
| Resource used in Internal Test |  |  | Resources Required
Services | vCPU per pod | RAM (GB) per pod | Pods required for 17 RPS | Total vCPU | Total RAM (GB) | Total pods required for Peak hour
registration-processor-stage-group-1 | 1 | 1 | 2 | 5 | 5 | 10
registration-processor-registration-status-service | 0.7 | 1.5 | 2 | 3.5 | 7.5 | 10
registration-processor-registration-transaction-service | 1 | 5 | 2 | 5 | 25 | 10
kernel-Sync Data | 2 | 2.5 | 3 | 10 | 12.5 | 15
keymanager-Key Manager | 2 | 6 | 4 | 10 | 30 | 20
KERNEL-MASTERDATA | 0.5 | 2.25 | 2 | 2.5 | 11.25 | 10
KERNEL-AUDITMANAGER | 2 | 5 | 2 | 10 | 25 | 10
KERNEL-AUTHMANAGER | 1 | 5 | 3 | 5 | 25 | 15
kafka | 2 | 5 | 5 | 10 | 25 | 25
Redis (Standalone) |  |  |  | 0 | 0 | 1
PostGres (Standalone) |  |  |  | 0 | 0 | 1
|  |  |  | 61 | 166.25 | 127
Buffers
A - Monitoring, Logging and alerts.( 20% of Total CPU & memory) |  |  |  | 12.2 | 33.25
B - Kubernetes infra. (30% of A) |  |  |  | 21.96 | 59.85
C - Buffer in the system. (30% of B) |  |  |  | 6.59 | 17.96
Total Resources required |  |  |  | 102 | 278 | 127
|  |  |  | VCPU | RAM | pods
Note: Data storage requirement is not included
Note on B13: Assuming the uploads will be done by clients in the last 1 hour of workday
Note on B14: We are assuming the peak day will be slighly higher ( X1.2) than a Typical day
Note on B17: Number of Resident Client Device X Typical number of registration per day
Note on B24: The Multiplying Factor is determined by dividing the expected TPS during the peak hour (cell B19) by the TPS observed in the performance run (cell B22). However, this factor is applied only as a whole number addition — it will not be used as a fractional divisor.

## IDAuthentication
ID Authentication Resource Calculator
Calculates CPU, RAM and Storage required for ID Authentication
Data to be provided by country
Key Inputs | Values
Total population having National Id | 100000000 | Should be updated in Summary Sheet
Avg Authentication per day as % | 10%
Data based on Industry standards
Additional Assumptions | Values
Peak Hour Authentication per day as % of daily | 8% | Should be updated as per Country's planned operational requirements
Calculation based on Key Input and Assumptions | Values
Total Population using National ID for authentication | 100000000
Avg Authentication per day | 10000000
Peak Authentication per hour | 800000
No. of users using the system in any given second during the peak hour - TPS | 223
Performance Observed during Internal Test
Performance Run TPS | 50
Factor required to match the expected peak hour TPS | 5
|  |  |  | vCPU | RAM | pods
Total Resources required |  |  |  | 87 | 295 | 87
Calculation
| Resource used in Internal Test |  |  | Resources Required
Services | vCPU per pod | RAM (GB) per pod | Pods required for 50 RPS | Total vCPU | Total RAM (GB) | Total pods required for Peak hour
ida-IDA-AUTH | 2 | 5 | 4 | 10 | 25 | 20
ida-IDA-OTP | 0.5 | 4 | 2 | 2.5 | 20 | 10
bisosdk-biosdk-service | 1.5 | 4 | 3 | 7.5 | 20 | 15
kernel-NOTIFIER | 1.5 | 5 | 3 | 7.5 | 25 | 15
kernel-OTPMANAGER | 0.5 | 3.1 | 3 | 2.5 | 15.5 | 15
kernel-AUDITMANAGER | 2 | 5 | 2 | 10 | 25 | 10
Redis (Standalone) | 4 | 15 | 1 | 4 | 15 | 1
PostGres (Standalone) | 8 | 31 | 1 | 8 | 31 | 1
|  |  |  | 52 | 176.5 | 87
Buffers
A - Monitoring, Logging and alerts. (20% of Total CPU & memory) |  |  |  | 10.4 | 35.3
B - Kubernetes infra. (30% of A) |  |  |  | 18.72 | 63.54
C - Buffer in the system. (30% of B) |  |  |  | 5.62 | 19.06
Total Resources required |  |  |  | 87 | 295 | 87
|  |  |  | VCPU | RAM | pods
Note: Data storage requirement is not included
Note on B8: Based on publicly available data on other National ID projects
Note on B12: Industry standard to estimate peak hour load compared to daily load
Note on B23: The Multiplying Factor is determined by dividing the expected TPS during the peak hour (cell B18) by the TPS observed in the performance run (cell B21). However, this factor is applied only as a whole number addition — it will not be used as a fractional divisor.
Note on E45: 20% of total CPU is considered for monitoring , logging and alerts.
Note on E46: 30% of Monitoring is considered for kubernetes infra.